organi_01: it finds organs present in the digital phantom

TrueFISP_all_02/VIBE_all_02mean: it generates the signal of the TrueFISP/VIBE acquisition (to change: number of respiratory phases, TE, flip angle according to your acquisition).

Smootha: performs a Gaussian smoothing of the volumes – I suggest to do this before reconstruction (especially if you deal with deformable registration)

- FOLDER MRI_reconstruction_TrueFISP:

RUN_TrueFISP_reconstruction: as an example I put the MeanCycleAX_2mm as data to reconstruct.

It recalls different functions – parameters to change in Input_List_grappa and in recon_new, according to your coils and grappa parameters.

- FOLDER MRI_reconstruction_VIBE

Run_file_VIBE: VIBE reconstruction (inside this function, there are parameters that can be changed according to VIBE acquisition)